## Sheet1
Name | Cost type | Cost code | Cost title | Quantity | Unit | Unit cost | Markup | Group | Description
Blueprint Copies | Material | 02.15 | Estimating & Accounting | 1 | each | 100 | 15 | BUSINESS OPERATIONS | Blueprint Copies — 1 each
Building Permits | Fee | 01.05 | Building Permit | 3239 | each | 2 | 971.7 | PRELIMINARY WORKS | JJCH cannot be sure on exact permit costs, so this is an allowance. Anything above estimated will be billed at cost plus 20% via a change order. — 3,239 each
Temporary Toilets | Equipment | 01.10 | Portable Toilet | 10 | each | 150 | 105 | PRELIMINARY WORKS | Temporary Toilets — 10 each
Temporary Utilities (Electric, Water, Gas) | Fee | 01.20 | Temporary Utilities | 10 | each | 25 | 37.5 | PRELIMINARY WORKS | Temporary Utilities (Electric, Water, Gas) — 10 each
Temporary Erosion Control | Subcontractor | 03.05 | Excavation | 750 | LF | 3.5 | 183.75 | LAND & SITE IMPROVEMENT | Install silt fence on all downhill slopes of areas cleared, in accordance with local building codes. — 750 ft
Grubbing and mulching | Subcontractor | 03.05 | Excavation | 1 | Days | 1800 | 126 | LAND & SITE IMPROVEMENT | JJCH cannot be sure on exact amount of mulching, so this is an allowance. Anything above and beyond estimated will be billed at cost plus 20% via a change order. Invoice/receipt will be provided at your request — 1 Days
Lot Clearing & Excavation | Subcontractor | 03.05 | Excavation | 2 | Days | 3000 | 420 | LAND & SITE IMPROVEMENT | JJCH cannot be sure on exact amount for tree removal, so this is an allowance. Anything above and beyond estimated will be billed at cost plus 20% via a change order. Invoice/receipt will be provided at your request — 2 Days
Concrete wash out pit | Material | 03.05 | Excavation | 1 | each | 450 | 67.5 | LAND & SITE IMPROVEMENT | Provide a safe area for concrete trucks to wash out in accordance with local building code — 1 each
Culvert Pipe | Material | 03.05 | Excavation | 1 | each | 650 | 97.5 | LAND & SITE IMPROVEMENT | Culvert Pipe — 1 each
Driveway mat | Material | 03.15 | Dirt/Gravel | 110 | LF | 1.75 | 28.88 | LAND & SITE IMPROVEMENT | Driveway mat — 110 LF
#34 Gravel to house site - 12' wide | Subcontractor | 03.15 | Dirt/Gravel | 1320 | sqft | 0.8 | 73.92 | LAND & SITE IMPROVEMENT | JJCH cannot be sure on exact amount of gravel, so this is an allowance. Anything above and beyond estimated will be billed at cost plus 20% via a change order. Invoice/receipt will be provided at your request — 1,320 ft2 (incl. 10% waste)
Water Meter | Material | 07.15 | Underground Sewage & Water | 1 | each | 3800 | 570 | PLUMBING | Connection to public water main, meter and tap fee. Allowance - billed at cost. — 1 each
Sewer: Septic System, Plan, & Permit | Subcontractor | 07.15 | Underground Sewage & Water | 1 | each | 13000 | 910 | PLUMBING | Septic system installed by a GA licensed septic contractor, per Newton County specs. Allowance. — 1 each
Gas: Propane Tank (1,000 Gallon) | Subcontractor | 09.05 | Gas Lines | 1 | each | 7500 | 525 | HVAC | 1,000-gallon buried propane tank - allowance. — 1 each
Bury Propane tank | Subcontractor | 09.05 | Gas Lines | 1 | each | 1000 | 70 | HVAC | Bury Propane tank — 1 each
Form Boards - Footer | Material | 04.05 | Footing | 490 | LF | 2 | 147 | FOUNDATION & BASEMENT | Form Boards - Footer — 490 LF (incl. 10% waste)
Concrete - Footer | Material | 04.05 | Footing | 23 | CY | 192 | 662.4 | FOUNDATION & BASEMENT | Concrete - Footer — 23 yd (incl. 10% waste)
#4 Rebar 20" Sticks - Footer | Material | 04.05 | Footing | 74 | LF | 14 | 155.4 | FOUNDATION & BASEMENT | #4 Rebar 20" Sticks - Footer — 74 LF (incl. 10% waste)
Mesh Chairs 100 pack - Slab | Material | 04.15 | Slab Grade & Gravel | 8 | sqft | 40 | 48 | FOUNDATION & BASEMENT | Mesh chairs that keep the WWM in the center of the slab — 8 each
Concrete- 4 inches - Slab | Material | 04.15 | Slab Grade & Gravel | 58 | CY | 185 | 1609.5 | FOUNDATION & BASEMENT | 3000 PSI fiber reinforced concrete — 58 YD3 (incl. 10% waste)
Labor - Monolithic slab | Subcontractor | 04.15 | Slab Grade & Gravel | 3841 | sqft | 1.75 | 470.52 | FOUNDATION & BASEMENT | Labor - Monolithic slab — 3,841 ft2 (incl. 10% waste)
Pump Truck - Slab pour | Material | 04.15 | Slab Grade & Gravel | 2 | sqft | 1800 | 540 | FOUNDATION & BASEMENT | Pump truck required to pour the slab — 2 each
Vapor Barrier - Slab | Material | 04.15 | Slab Grade & Gravel | 6 | Rolls | 140 | 126 | FOUNDATION & BASEMENT | 6 Mill plastic vapor barrier — 6 Rolls (incl. 10% waste)
1/2" Gravel - Slab | Material | 04.15 | Slab Grade & Gravel | 6 | Truck load | 900 | 810 | FOUNDATION & BASEMENT | #57 Stone under slab — 6 Truck load (incl. 10% waste)
Framing Lumber | Material | 05.05 | Frame Lumber | 4188 | sqft | 4.5 | 2826.9 | FRAMING | Standard 2x4 walls, 2x8 Ceiling Joist, 2x6 Roof rafter. Southern pine or spruce/fir — 4,188 ft2
Engineered Floor | Material | 05.05 | Frame Lumber | 4850 | sqft | 6 | 4365 | FRAMING | Wood I-Joist or Trusses — 4,850 ft2
Framing Labor - SF Price | Subcontractor | 05.00 | Frame Labor | 4188 | sqft | 5.5 | 1612.38 | FRAMING | Framing Labor - SF Price — 4,188 ft2
Metal Roofing | Allowance | 06.00 | Roofing | 5578 | sqft | 9 | 4016.16 | ROOFING | Standing-seam metal roof, low-slope, mechanically-seamed, turnkey installed. Allowance.
Windows | Allowance | 13.00 | Windows Materials | 24 | each | 625 | 1200 | WINDOWS & DOORS | Vinyl single-hung & fixed windows, black exterior, Low-E double-pane, no grid (modern). Allowance.
Window Tape | Material | 13.00 | Windows Materials | 8 | roll | 27 | 32.4 | WINDOWS & DOORS | Window Tape — 8 roll
Windows - Labor to Install | Labor | 13.05 | Windows Installation Labor | 24 | each | 75 | 126 | WINDOWS & DOORS | Windows - Labor to Install — 24 each
Front Door - Double (Wood Door) | Allowance | 13.10 | Exterior Doors | 1 | each | 3800 | 304 | WINDOWS & DOORS | Double entry door, modern. Allowance.
Front Door - Lockset | Allowance | 13.20 | Door Hardware | 1 | each | 300 | 24 | WINDOWS & DOORS | Front Door - Lockset Allowance.
Front Door - Labor to install Door | Labor | 13.10 | Exterior Doors | 1 | each | 150 | 10.5 | WINDOWS & DOORS | Front Door - Labor to install Door — 1 each
Front Door - Lockset installation | Labor | 13.35 | Door Hardware Installation | 1 | each | 50 | 3.5 | WINDOWS & DOORS | Front Door - Lockset installation — 1 each
Exterior Doors - Single Door | Allowance | 13.10 | Exterior Doors | 2 | each | 1000 | 160 | WINDOWS & DOORS | Exterior single hinged doors. Allowance.
Exterior Doors - Double Door | Allowance | 13.10 | Exterior Doors | 2 | each | 2200 | 352 | WINDOWS & DOORS | Exterior double glass doors, black. Allowance.
Exterior Doors - 10' Sliding Door | Allowance | 13.10 | Exterior Doors | 1 | each | 4500 | 360 | WINDOWS & DOORS | 8' sliding glass door, black. Allowance.
Exterior Doors - 12' Sliding Door | Allowance | 13.10 | Exterior Doors | 1 | each | 5500 | 440 | WINDOWS & DOORS | 12' sliding/multi-slide glass door to rear porch, black. Allowance.
Exterior Door Lockset | Allowance | 13.20 | Door Hardware | 5 | each | 95 | 38 | WINDOWS & DOORS | Handle and lockset for all hinged entry doors (Excluding Front Door) Allowance.
Exterior Doors - Labor to Install Hinged doors | Labor | 13.10 | Exterior Doors | 3 | each | 75 | 15.75 | WINDOWS & DOORS | N/A if framing crew installs — 3 each
Exterior Doors - Labor to install sliding doors | Labor | 13.10 | Exterior Doors | 2 | each | 500 | 70 | WINDOWS & DOORS | Exterior Doors - Labor to install sliding doors — 2 each
6'8" Hinged | Material | 13.30 | Interior Doors | 5 | each | 160 | 120 | WINDOWS & DOORS | 6'8" Hinged — 5 each
8'0" Single | Material | 13.30 | Interior Doors | 13 | each | 267.4615 | 521.55 | WINDOWS & DOORS | Hollow-core flat-stock 8' doors. — 13 each
8'0" Single | Material | 13.30 | Interior Doors | 9 | each | 650 | 877.5 | WINDOWS & DOORS | Solid-core flat-stock 8' doors at bedrooms. — 9 each
8' Garage Entry Door | Material | 13.30 | Interior Doors | 1 | each | 900 | 135 | WINDOWS & DOORS | 8' Garage Entry Door — 1 each
Door knobs | Allowance | 13.20 | Door Hardware | 28 | sqft | 25 | 56 | WINDOWS & DOORS | Door knobs Allowance.
Door Stops | Material | 13.20 | Door Hardware | 28 | sqft | 6 | 25.2 | WINDOWS & DOORS | Door Stops — 28 ft2
Interior Door Hardware Installation | Labor | 13.35 | Door Hardware Installation | 28 | sqft | 25 | 49 | WINDOWS & DOORS | Interior Door Hardware Installation — 28 ft2
Base molding - Choose size | Allowance | 12.00 | Trim Carpentry Materials | 750 | LF | 2 | 120 | CARPENTRY & COUNTERTOPS | Modern flat-stock base trim. Allowance.
Trim - 1x4 Window casing and Jambs | Material | 12.00 | Trim Carpentry Materials | 400 | LF | 1.5 | 90 | CARPENTRY & COUNTERTOPS | Trim - 1x4 Window casing and Jambs — 400 LF (incl. 10% waste)
Trim Labor | Labor | 12.05 | Trim Carpentry Labor | 1200 | LF | 2 | 168 | CARPENTRY & COUNTERTOPS | Trim Labor — 1,200 feet (incl. 10% waste)
Trim - Labor (Install Quarter Round & Bath, Door, Cabinet Hardware) | Material | 12.00 | Trim Carpentry Materials | 3841 | sqft | 0.75 | 432.11 | CARPENTRY & COUNTERTOPS | Trim - Labor (Install Quarter Round & Bath, Door, Cabinet Hardware) — 3,841 sq ft (incl. 10% waste)
Count Each Fixture Opening | Subcontractor | 07.00 | Plumbing Labor | 20 | each | 700 | 980 | PLUMBING | Count Each Fixture Opening — 20 each
Count Each Water Opening | Subcontractor | 07.00 | Plumbing Labor | 12 | each | 400 | 336 | PLUMBING | Fridge, Ice Maker, Washer, Hose Bibbs, etc. — 12 each
Water Heater | Allowance | 07.10 | Plumbing Fixtures | 2 | each | 1800 | 288 | PLUMBING | Two high-efficiency water heaters. Allowance.
Gas Lines | Subcontractor | 09.00 | HVAC | 2 | each | 400 | 56 | HVAC | Fireplace, Furnace, Tankless WH, etc — 2 each
HVAC - Air Handler and Condensing Units | Allowance | 09.00 | HVAC | 1 | each | 17000 | 1360 | HVAC | HVAC system for residence; high-efficiency. Allowance.
Flex Duct work | Subcontractor | 09.00 | HVAC | 1 | sqft | 32569 | 2279.83 | HVAC | Hard spiral ductwork (exposed-structure design). — 1 ft2
HVAC - Garage | Subcontractor | 09.00 | HVAC | 1 | sqft | 6500 | 455 | HVAC | HVAC for conditioned garage. — 1 sq ft
Garage - Flex Duct work | Subcontractor | 09.00 | HVAC | 1204 | sqft | 4 | 337.12 | HVAC | Garage - Flex Duct work — 1,204 ft2
Electrical - SF Price | Subcontractor | 08.00 | Electrical | 3841 | sqft | 8 | 2150.96 | ELECTRICAL | Code minimum electrical wiring. 200 Amp service and panel included. Additional electrical will be billed at cost plus 20% — 3,841 sq ft
Upgrade to 400 AMP service | Subcontractor | 08.00 | Electrical | 1 | sqft | 2000 | 140 | ELECTRICAL | Upgrade to 400 AMP service — 1 ft2
Low Voltage, Alarm, Cameras - Allowance | Allowance | 08.00 | Electrical | 1 | each | 5000 | 400 | ELECTRICAL | Low-voltage, data, security rough-in - allowance.
Insulation (SqFt) - Walls | Allowance | 10.00 | Insulation | 7986 | sqft | 0.98 | 626.1 | INSULATION & DRYWALL | Open-cell spray foam insulation, walls. Allowance.
Insulation Ceiling/Roof | Allowance | 10.00 | Insulation | 5585 | sqft | 1.27 | 567.44 | INSULATION & DRYWALL | Open-cell spray foam insulation, roof deck. Allowance.
Drywall - Level 4 | Subcontractor | 10.05 | Drywall | 17939 | sqft | 1.35 | 1695.24 | INSULATION & DRYWALL | Drywall hung, taped, finished (Level 4) on interior walls; ceilings left exposed per design. — 17,939 sq ft
Siding (Vertical) | Subcontractor | 05.10 | Siding Materials and labor | 4682 | sqft | 8 | 2621.92 | FRAMING | Standing-seam metal wall cladding, factory-finished (no field paint). — 4,682 ft2 (incl. 10% waste)
Fascia (Metal and Vinyl) | Subcontractor | 05.10 | Siding Materials and labor | 340 | LF | 11 | 261.8 | FRAMING | Fascia (Metal and Vinyl) — 340 feet (incl. 10% waste)
Porch Ceilings | Subcontractor | 05.10 | Siding Materials and labor | 381.7 | sqft | 5.5 | 146.95 | FRAMING | Tongue-and-groove ceiling at covered porches. — 381.7 ft2 (incl. 10% waste)
Stone Material | Allowance | 17.20 | Masonry Materials | 282 | sqft | 4 | 90.24 | MASONRY & FIREPLACE | Stone veneer accent wall. Allowance.
Stone Labor | Labor | 17.20 | Masonry Materials | 282 | sqft | 3.5 | 69.09 | MASONRY & FIREPLACE | Stone Labor — 282 sq ft
LF of Lowers - Kitchen | Allowance | 12.14 | Cabinet Material | 20 | LF | 200 | 320 | CARPENTRY & COUNTERTOPS | High-end cabinetry, kitchen. Allowance.
LF of Uppers - Kitchen | Allowance | 12.14 | Cabinet Material | 12 | LF | 200 | 192 | CARPENTRY & COUNTERTOPS | LF of Uppers - Kitchen Allowance.
LF of Island - Kitchen | Allowance | 12.14 | Cabinet Material | 10 | LF | 200 | 160 | CARPENTRY & COUNTERTOPS | LF of Island - Kitchen Allowance.
LF of Tall Cabinet (Fridge, Oven, Linen) - Kitchen | Allowance | 12.14 | Cabinet Material | 6 | LF | 350 | 168 | CARPENTRY & COUNTERTOPS | LF of Tall Cabinet (Fridge, Oven, Linen) - Kitchen Allowance.
Each Vent Hood Cabinet - Kitchen | Allowance | 12.14 | Cabinet Material | 1 | each | 1500 | 120 | CARPENTRY & COUNTERTOPS | Each Vent Hood Cabinet - Kitchen Allowance.
Labor to assemble and install cabinets - Kitchen | Labor | 12.15 | Cabinets Install Labor | 40 | each | 75 | 210 | CARPENTRY & COUNTERTOPS | Labor to assemble and install cabinets - Kitchen — 40 each
Granite or Quartz - Kitchen | Allowance | 12.25 | Countertops Material | 80 | sqft | 85 | 544 | CARPENTRY & COUNTERTOPS | Level-6 granite/quartz (or concrete) countertops, fabricated & installed. Allowance.
Potfiller - Kitchen | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 600 | 48 | PLUMBING | Potfiller - Kitchen Allowance.
Kitchen Sink - Undermount | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 500 | 40 | PLUMBING | Kitchen Sink - Undermount Allowance.
Kitchen Sink - Faucet | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 300 | 24 | PLUMBING | Kitchen Sink - Faucet Allowance.
Charge per cutout/hole | Material | 12.25 | Countertops Material | 1 | each | 100 | 15 | CARPENTRY & COUNTERTOPS | Charge per cutout/hole — 1 each
Backsplash - Material allowance | Allowance | 15.20 | Tile Materials | 49.5 | sqft | 15 | 59.4 | FLOORING & TILE | Backsplash - Material allowance
Tile sundries - Glue Grout, Spacers, etc | Material | 15.20 | Tile Materials | 49.5 | sqft | 3 | 22.27 | FLOORING & TILE | Tile sundries - Glue Grout, Spacers, etc — 49.5 each
Backsplash - Tile labor | Subcontractor | 15.25 | Tile Labor | 45 | sqft | 18 | 56.7 | FLOORING & TILE | Backsplash - Tile labor — 45 each
Appliance Package - Kitchen | Allowance | 16.00 | Appliances | 1 | each | 12000 | 960 | APPLIANCES | Appliance allowance incl two gas ranges. Often owner-supplied - allowance.
Appliance Installation - Kitchen | Labor | 16.05 | Appliances Installation | 1 | each | 750 | 52.5 | APPLIANCES | Appliance Installation - Kitchen — 1 each
Under cabinet LED lighting - Kitchen | Material | 08.05 | Lighting | 1 | each | 350 | 52.5 | ELECTRICAL | Under cabinet LED lighting - Kitchen — 1 each
LF of Lowers | Allowance | 12.14 | Cabinet Material | 12 | LF | 175 | 168 | CARPENTRY & COUNTERTOPS | LF of Lowers Allowance.
LF of Uppers | Allowance | 12.14 | Cabinet Material | 10 | LF | 175 | 140 | CARPENTRY & COUNTERTOPS | LF of Uppers Allowance.
Countertops | Material | 12.14 | Cabinet Material | 15 | sqft | 55 | 123.75 | CARPENTRY & COUNTERTOPS | Countertops — 15 ft2 (incl. 1.24% waste)
Shelving - Panty | Allowance | 20.05 | Closet shelving | 30 | sqft | 12 | 28.8 | FINISHES | Shelving - Panty Allowance.
Toilet - Bath 1 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 150 | 12 | PLUMBING | Toilet - Bath 1 Allowance.
Vanity Cabinets - Bath 1 | Allowance | 12.14 | Cabinet Material | 18 | sqft | 175 | 252 | CARPENTRY & COUNTERTOPS | Vanity Cabinets - Bath 1 Allowance.
Vanity Cabinets - Hardware - Bath 1 | Allowance | 12.20 | Cabinets Hardware | 18 | sqft | 6 | 8.64 | CARPENTRY & COUNTERTOPS | Vanity Cabinets - Hardware - Bath 1 Allowance.
Vanity Cabinets - Installation - Bath 1 | Subcontractor | 12.15 | Cabinets Install Labor | 18 | sqft | 100 | 126 | CARPENTRY & COUNTERTOPS | Vanity Cabinets - Installation - Bath 1 — 18 ft2
Vanity Sink - Bath 1 | Allowance | 07.10 | Plumbing Fixtures | 2 | each | 125 | 20 | PLUMBING | Vanity Sink - Bath 1 Allowance.
Charge per cutout/hole - Bath 1 | Material | 12.25 | Countertops Material | 2 | each | 100 | 30 | CARPENTRY & COUNTERTOPS | Charge per cutout/hole - Bath 1 — 2 each
Vanity Sink - Faucet - Bath 1 | Allowance | 07.10 | Plumbing Fixtures | 2 | each | 150 | 24 | PLUMBING | Vanity Sink - Faucet - Bath 1 Allowance.
Vanity Sink - Mirror - Bath 1 | Allowance | 11.10 | Mirrors | 2 | each | 120 | 19.2 | GLASS & MIRRORS | Vanity Sink - Mirror - Bath 1 Allowance.
Towel Bar and Hand Towel - Bath 1 | Allowance | 20.00 | Bathroom accessories | 2 | each | 50 | 8 | FINISHES | Towel Bar and Hand Towel - Bath 1 Allowance.
Install Mirror - Bath 1 | Labor | 11.10 | Mirrors | 2 | each | 25 | 3.5 | GLASS & MIRRORS | Install Mirror - Bath 1 — 2 each
Install towel bars - Bath 1 | Labor | 12.15 | Cabinets Install Labor | 2 | each | 25 | 3.5 | CARPENTRY & COUNTERTOPS | Install towel bars - Bath 1 — 2 each
Vanity - Light Fixture - Bath 1 | Allowance | 08.05 | Lighting | 2 | each | 100 | 16 | ELECTRICAL | Vanity - Light Fixture - Bath 1 Allowance.
Vanity Sink drain kit - Bath 1 | Material | 07.05 | Plumbing Materials | 2 | each | 20 | 6 | PLUMBING | Vanity Sink drain kit - Bath 1 — 2 each
Granite or Quartz - Bath 1 | Allowance | 12.25 | Countertops Material | 32 | sqft | 85 | 217.6 | CARPENTRY & COUNTERTOPS | Level-6 quartz vanity tops. Allowance.
Shower valve and head - Allowance - Bath 1 | Allowance | 07.10 | Plumbing Fixtures | 2 | each | 400 | 64 | PLUMBING | Shower valve and head - Allowance - Bath 1
Tile Walls - Material allowance - Bath 1 | Allowance | 15.20 | Tile Materials | 143 | sqft | 7 | 80.08 | FLOORING & TILE | Tile Walls - Material allowance - Bath 1
Tile sundries - Glue Grout, Spacers, etc - Bath 1 | Material | 15.20 | Tile Materials | 143 | sqft | 3 | 64.35 | FLOORING & TILE | Tile sundries - Glue Grout, Spacers, etc - Bath 1 — 143 ft2 (incl. 10% waste)
Schluter - Bath 1 | Material | 15.20 | Tile Materials | 143 | sqft | 5 | 107.25 | FLOORING & TILE | Schluter - Bath 1 — 143 sq ft (incl. 10% waste)
Tile wall labor - Bath 1 | Subcontractor | 15.25 | Tile Labor | 130 | sqft | 15 | 136.5 | FLOORING & TILE | Tile wall labor - Bath 1 — 130 ft2 (incl. 10% waste)
Niche Labor - Bath 1 | Subcontractor | 15.25 | Tile Labor | 1 | each | 300 | 21 | FLOORING & TILE | Niche Labor - Bath 1 — 1 each
Niche tile allowance - Bath 1 | Allowance | 15.20 | Tile Materials | 3 | LF | 15 | 3.6 | FLOORING & TILE | Niche tile allowance - Bath 1
Shower bench - Bath 1 | Material | 15.25 | Tile Labor | 1 | each | 500 | 75 | FLOORING & TILE | Shower bench - Bath 1 — 1 each
Shower Bench Labor - Bath 1 | Subcontractor | 15.25 | Tile Labor | 1 | each | 350 | 24.5 | FLOORING & TILE | Shower Bench Labor - Bath 1 — 1 each
Shower mud bed - Bath 1 | Subcontractor | 15.25 | Tile Labor | 40 | sqft | 75 | 210 | FLOORING & TILE | Shower mud bed - Bath 1 — 40 sq ft (incl. 10% waste)
Shower floor tile allowance - Bath 1 | Allowance | 15.20 | Tile Materials | 40 | sqft | 15 | 48 | FLOORING & TILE | Shower floor tile allowance - Bath 1
Freestanding tub - Bath 1 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 2000 | 160 | PLUMBING | Freestanding soaking tub, master. Allowance.
Tub Valve- Allowance - Bath 1 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 600 | 48 | PLUMBING | Tub Valve- Allowance - Bath 1
Flooring Tile - Bath 1 | Allowance | 15.20 | Tile Materials | 77 | sqft | 8 | 49.28 | FLOORING & TILE | Flooring Tile - Bath 1 Allowance.
Flooring tile sundries - Bath 1 | Material | 15.20 | Tile Materials | 77 | sqft | 3 | 34.65 | FLOORING & TILE | Flooring tile sundries - Bath 1 — 77 each
Flooring tile Labor - Bath 1 | Subcontractor | 15.25 | Tile Labor | 70 | sqft | 9 | 44.1 | FLOORING & TILE | Flooring tile Labor - Bath 1 — 70 each
Toilet - Bath 2 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 150 | 12 | PLUMBING | Toilet - Bath 2 Allowance.
Vanity Cabinets - Bath 2 | Allowance | 12.14 | Cabinet Material | 9 | sqft | 185 | 133.2 | CARPENTRY & COUNTERTOPS | Vanity Cabinets - Bath 2 Allowance.
Vanity Cabinets - Hardware - Bath 2 | Allowance | 12.20 | Cabinets Hardware | 9 | sqft | 6 | 4.32 | CARPENTRY & COUNTERTOPS | Vanity Cabinets - Hardware - Bath 2 Allowance.
Vanity Cabinets - Installation - Bath 2 | Material | 12.15 | Cabinets Install Labor | 9 | sqft | 100 | 135 | CARPENTRY & COUNTERTOPS | Vanity Cabinets - Installation - Bath 2 — 9 ft2
Vanity Sink - Bath 2 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 125 | 10 | PLUMBING | Comes with vanity Allowance.
Charge per cutout/hole - Bath 2 | Material | 12.25 | Countertops Material | 1 | each | 100 | 15 | CARPENTRY & COUNTERTOPS | Comes with vanity — 1 each
Vanity Sink - Faucet - Bath 2 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 150 | 12 | PLUMBING | Vanity Sink - Faucet - Bath 2 Allowance.
Vanity Sink - Mirror - Bath 2 | Allowance | 11.10 | Mirrors | 1 | each | 120 | 9.6 | GLASS & MIRRORS | Vanity Sink - Mirror - Bath 2 Allowance.
Towel Bar and Hand Towel - Bath 2 | Allowance | 20.00 | Bathroom accessories | 1 | each | 50 | 4 | FINISHES | Towel Bar and Hand Towel - Bath 2 Allowance.
Install Mirror - Bath 2 | Labor | 11.10 | Mirrors | 1 | each | 25 | 1.75 | GLASS & MIRRORS | Install Mirror - Bath 2 — 1 each
Install towel bars - Bath 2 | Labor | 12.15 | Cabinets Install Labor | 1 | each | 25 | 1.75 | CARPENTRY & COUNTERTOPS | Install towel bars - Bath 2 — 1 each
Vanity - Light Fixture - Bath 2 | Allowance | 08.05 | Lighting | 1 | each | 100 | 8 | ELECTRICAL | Vanity - Light Fixture - Bath 2 Allowance.
Vanity Sink drain kit - Bath 2 | Material | 07.05 | Plumbing Materials | 1 | each | 20 | 3 | PLUMBING | Vanity Sink drain kit - Bath 2 — 1 each
Granite or Quartz - Bath 2 | Allowance | 12.25 | Countertops Material | 14 | sqft | 85 | 95.2 | CARPENTRY & COUNTERTOPS | Comes with vanity Allowance.
Shower valve and head - Allowance - Bath 2 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 400 | 32 | PLUMBING | Shower valve and head - Allowance - Bath 2
Tile Walls - Material allowance - Bath 2 | Allowance | 15.20 | Tile Materials | 90 | sqft | 7 | 50.4 | FLOORING & TILE | Tile Walls - Material allowance - Bath 2
Tile wall labor - Bath 2 | Subcontractor | 15.25 | Tile Labor | 90 | sqft | 15 | 94.5 | FLOORING & TILE | Tile wall labor - Bath 2 — 90 ft2 (incl. 10% waste)
Shower mud bed - Bath 2 | Material | 15.25 | Tile Labor | 36 | sqft | 75 | 405 | FLOORING & TILE | Shower mud bed - Bath 2 — 36 sq ft (incl. 10% waste)
Shower floor tile allowance - Bath 2 | Allowance | 15.20 | Tile Materials | 36 | sqft | 15 | 43.2 | FLOORING & TILE | Shower floor tile allowance - Bath 2
Flooring Tile - Bath 2 | Allowance | 15.20 | Tile Materials | 45 | sqft | 8 | 28.8 | FLOORING & TILE | Flooring Tile - Bath 2 Allowance.
Toilet - Bath 3 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 150 | 12 | PLUMBING | Toilet - Bath 3 Allowance.
Vanity Cabinets - Bath 3 | Allowance | 12.14 | Cabinet Material | 9 | sqft | 150 | 108 | CARPENTRY & COUNTERTOPS | Vanity Cabinets - Bath 3 Allowance.
Vanity Cabinets - Hardware - Bath 3 | Allowance | 12.20 | Cabinets Hardware | 9 | sqft | 6 | 4.32 | CARPENTRY & COUNTERTOPS | Vanity Cabinets - Hardware - Bath 3 Allowance.
Vanity Cabinets - Installation - Bath 3 | Material | 12.15 | Cabinets Install Labor | 9 | sqft | 100 | 135 | CARPENTRY & COUNTERTOPS | Vanity Cabinets - Installation - Bath 3 — 9 ft2
Vanity Sink - Bath 3 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 125 | 10 | PLUMBING | Vanity Sink - Bath 3 Allowance.
Charge per cutout/hole - Bath 3 | Material | 12.25 | Countertops Material | 1 | each | 100 | 15 | CARPENTRY & COUNTERTOPS | Charge per cutout/hole - Bath 3 — 1 each
Vanity Sink - Faucet - Bath 3 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 150 | 12 | PLUMBING | Vanity Sink - Faucet - Bath 3 Allowance.
Vanity Sink - Mirror - Bath 3 | Allowance | 11.10 | Mirrors | 1 | each | 120 | 9.6 | GLASS & MIRRORS | Vanity Sink - Mirror - Bath 3 Allowance.
Towel Bar and Hand Towel - Bath 3 | Allowance | 20.00 | Bathroom accessories | 1 | each | 50 | 4 | FINISHES | Towel Bar and Hand Towel - Bath 3 Allowance.
Install Mirror - Bath 3 | Labor | 11.10 | Mirrors | 1 | each | 25 | 1.75 | GLASS & MIRRORS | Install Mirror - Bath 3 — 1 each
Install towel bars - Bath 3 | Labor | 12.15 | Cabinets Install Labor | 1 | each | 25 | 1.75 | CARPENTRY & COUNTERTOPS | Install towel bars - Bath 3 — 1 each
Vanity - Light Fixture - Bath 3 | Allowance | 08.05 | Lighting | 1 | each | 100 | 8 | ELECTRICAL | Vanity - Light Fixture - Bath 3 Allowance.
Vanity Sink drain kit - Bath 3 | Material | 07.05 | Plumbing Materials | 1 | each | 20 | 3 | PLUMBING | Vanity Sink drain kit - Bath 3 — 1 each
Granite or Quartz - Bath 3 | Allowance | 12.25 | Countertops Material | 14 | sqft | 85 | 95.2 | CARPENTRY & COUNTERTOPS | Granite or Quartz - Bath 3 Allowance.
Shower valve and head - Allowance - Bath 3 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 400 | 32 | PLUMBING | Shower valve and head - Allowance - Bath 3
Tile Walls - Material allowance - Bath 3 | Allowance | 15.20 | Tile Materials | 90 | sqft | 7 | 50.4 | FLOORING & TILE | Tile Walls - Material allowance - Bath 3
Tile wall labor - Bath 3 | Subcontractor | 15.25 | Tile Labor | 90 | sqft | 15 | 94.5 | FLOORING & TILE | Tile wall labor - Bath 3 — 90 ft2 (incl. 10% waste)
Shower mud bed - Bath 3 | Material | 15.25 | Tile Labor | 36 | sqft | 75 | 405 | FLOORING & TILE | Shower mud bed - Bath 3 — 36 sq ft (incl. 10% waste)
Shower floor tile allowance - Bath 3 | Allowance | 15.20 | Tile Materials | 36 | sqft | 15 | 43.2 | FLOORING & TILE | Shower floor tile allowance - Bath 3
Flooring Tile - Bath 3 | Allowance | 15.20 | Tile Materials | 45 | sqft | 8 | 28.8 | FLOORING & TILE | Flooring Tile - Bath 3 Allowance.
Flooring tile sundries - Bath 3 | Material | 15.20 | Tile Materials | 45 | sqft | 3 | 20.25 | FLOORING & TILE | Flooring tile sundries - Bath 3 — 45 each
Flooring tile Labor - Bath 3 | Subcontractor | 15.25 | Tile Labor | 45 | sqft | 9 | 28.35 | FLOORING & TILE | Flooring tile Labor - Bath 3 — 45 each
Toilet - Bath 4 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 150 | 12 | PLUMBING | Toilet - Bath 4 Allowance.
Vanity Cabinets - Bath 4 | Allowance | 12.14 | Cabinet Material | 9 | sqft | 150 | 108 | CARPENTRY & COUNTERTOPS | Vanity Cabinets - Bath 4 Allowance.
Vanity Cabinets - Hardware - Bath 4 | Allowance | 12.20 | Cabinets Hardware | 9 | sqft | 6 | 4.32 | CARPENTRY & COUNTERTOPS | Vanity Cabinets - Hardware - Bath 4 Allowance.
Vanity Cabinets - Installation - Bath 4 | Material | 12.15 | Cabinets Install Labor | 9 | sqft | 100 | 135 | CARPENTRY & COUNTERTOPS | Vanity Cabinets - Installation - Bath 4 — 9 ft2
Vanity Sink - Bath 4 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 125 | 10 | PLUMBING | Vanity Sink - Bath 4 Allowance.
Charge per cutout/hole - Bath 4 | Material | 12.25 | Countertops Material | 1 | each | 100 | 15 | CARPENTRY & COUNTERTOPS | Charge per cutout/hole - Bath 4 — 1 each
Vanity Sink - Faucet - Bath 4 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 150 | 12 | PLUMBING | Vanity Sink - Faucet - Bath 4 Allowance.
Vanity Sink - Mirror - Bath 4 | Allowance | 11.10 | Mirrors | 1 | each | 120 | 9.6 | GLASS & MIRRORS | Vanity Sink - Mirror - Bath 4 Allowance.
Towel Bar and Hand Towel - Bath 4 | Allowance | 20.00 | Bathroom accessories | 1 | each | 50 | 4 | FINISHES | Towel Bar and Hand Towel - Bath 4 Allowance.
Install Mirror - Bath 4 | Labor | 11.10 | Mirrors | 1 | each | 25 | 1.75 | GLASS & MIRRORS | Install Mirror - Bath 4 — 1 each
Install towel bars - Bath 4 | Labor | 12.15 | Cabinets Install Labor | 1 | each | 25 | 1.75 | CARPENTRY & COUNTERTOPS | Install towel bars - Bath 4 — 1 each
Vanity - Light Fixture - Bath 4 | Allowance | 08.05 | Lighting | 1 | each | 100 | 8 | ELECTRICAL | Vanity - Light Fixture - Bath 4 Allowance.
Vanity Sink drain kit - Bath 4 | Material | 07.05 | Plumbing Materials | 1 | each | 20 | 3 | PLUMBING | Vanity Sink drain kit - Bath 4 — 1 each
Granite or Quartz - Bath 4 | Allowance | 12.25 | Countertops Material | 14 | sqft | 85 | 95.2 | CARPENTRY & COUNTERTOPS | Granite or Quartz - Bath 4 Allowance.
Shower valve and head - Allowance - Bath 4 | Allowance | 07.10 | Plumbing Fixtures | 1 | each | 400 | 32 | PLUMBING | Shower valve and head - Allowance - Bath 4
Tile Walls - Material allowance - Bath 4 | Allowance | 15.20 | Tile Materials | 90 | sqft | 7 | 50.4 | FLOORING & TILE | Tile Walls - Material allowance - Bath 4
Tile wall labor - Bath 4 | Subcontractor | 15.25 | Tile Labor | 90 | sqft | 15 | 94.5 | FLOORING & TILE | Tile wall labor - Bath 4 — 90 ft2 (incl. 10% waste)
Shower mud bed - Bath 4 | Material | 15.25 | Tile Labor | 36 | sqft | 75 | 405 | FLOORING & TILE | Shower mud bed - Bath 4 — 36 sq ft (incl. 10% waste)
Shower floor tile allowance - Bath 4 | Allowance | 15.20 | Tile Materials | 36 | sqft | 15 | 43.2 | FLOORING & TILE | Shower floor tile allowance - Bath 4
Flooring Tile - Bath 4 | Allowance | 15.20 | Tile Materials | 45 | sqft | 8 | 28.8 | FLOORING & TILE | Flooring Tile - Bath 4 Allowance.
Flooring tile sundries - Bath 4 | Material | 15.20 | Tile Materials | 45 | sqft | 3 | 20.25 | FLOORING & TILE | Flooring tile sundries - Bath 4 — 45 each
Flooring tile Labor - Bath 4 | Subcontractor | 15.25 | Tile Labor | 45 | sqft | 9 | 28.35 | FLOORING & TILE | Flooring tile Labor - Bath 4 — 45 each
Fans/Lights | Allowance | 08.05 | Lighting | 8 | sqft | 150 | 96 | ELECTRICAL | Fans/Lights Allowance.
Can Lights | Allowance | 08.05 | Lighting | 45 | sqft | 10 | 36 | ELECTRICAL | Can Lights Allowance.
Can Light- add wiring | Subcontractor | 08.00 | Electrical | 45 | sqft | 35 | 110.25 | ELECTRICAL | Can Light- add wiring — 45 ft2
Gutters (6" Standard K-Style) | Subcontractor | 06.25 | Gutters & Downspouts | 200 | LF | 7 | 98 | ROOFING | Gutters (6" Standard K-Style) — 200 feet
Downspouts (3" Standard) | Subcontractor | 06.25 | Gutters & Downspouts | 100 | LF | 7 | 49 | ROOFING | Downspouts (3" Standard) — 100 feet
Paint/Stain - Interior SF | Subcontractor | 14.00 | Paint | 17939 | sqft | 1.15 | 1444.09 | PAINT & WALLCOVERING | Interior walls painted. — 17,939 sq ft
Glass Shower Enclosure - Frameless (Master) | Allowance | 11.05 | Shower Doors | 2 | each | 2000 | 320 | GLASS & MIRRORS | Frameless glass shower enclosure(s). Allowance.
Double Garage Door | Allowance | 13.25 | Garage Doors | 1 | sqft | 2500 | 200 | WINDOWS & DOORS | Modern flush 16'x8' garage door. Allowance.
Double Garage Door Opener | Allowance | 13.25 | Garage Doors | 1 | sqft | 600 | 48 | WINDOWS & DOORS | Double Garage Door Opener Allowance.
Double Garage Door Installation | Labor | 13.25 | Garage Doors | 1 | sqft | 750 | 52.5 | WINDOWS & DOORS | Double Garage Door Installation — 1 ft2
Final Grading | Subcontractor | 19.05 | Final grading | 1 | sqft | 2500 | 175 | LANDSCAPING | Final Grading — 1 ft2
Labor & Equipment | Material | FLRT |  | 1 | each | 1500 | 225 | EXTERIOR WORKS | Labor & Equipment — 1 each
Backfill Dirt (14Yd Net) | Allowance | 19.05 | Final grading | 3 | loads | 300 | 72 | LANDSCAPING | Backfill Dirt (14Yd Net) Allowance.
Labor | Allowance | 18.00 | Driveway | 2400 | sqft | 2 | 384 | EXTERIOR WORKS | Labor Allowance.
Concrete | Allowance | 18.00 | Driveway | 46.2 | CY | 185 | 683.76 | EXTERIOR WORKS | 4" Slab Allowance.
Sod | Allowance | 19.10 | Sod | 1 | each | 2500 | 200 | LANDSCAPING | Sod / lawn establishment - allowance.
Irrigation | Allowance | 19.10 | Sod | 1 | each | 3000 | 240 | LANDSCAPING | Irrigation system - allowance.
Plant package | Allowance | 19.10 | Sod | 1 | sqft | 3000 | 240 | LANDSCAPING | Landscape plant package - allowance.
Seed and straw | Allowance | 19.10 | Sod | 1 | sqft | 2500 | 200 | LANDSCAPING | Seed and straw Allowance.
Cleaning - Final Clean Interior | Subcontractor | 21.00 | General Site Cleanup | 3841 | sqft | 0.55 | 147.88 | CLEANUP | Cleaning - Final Clean Interior — 3,841 sq ft
Cleaning - Job Site Cleanup - Dumpsters | Subcontractor | 21.00 | General Site Cleanup | 3 | each | 500 | 105 | CLEANUP | Cleaning - Job Site Cleanup - Dumpsters — 3 each
Cleaning - Exterior Pressure washing | Subcontractor | 21.00 | General Site Cleanup | 3841 | each | 0.45 | 120.99 | CLEANUP | Cleaning - Exterior Pressure washing — 3,841 each
Cleaning - Final window cleaning | Subcontractor | 21.00 | General Site Cleanup | 24 | each | 35 | 58.8 | CLEANUP | Cleaning - Final window cleaning — 24 each
Termite Protection | Subcontractor | 04.00 | Termite Treatment | 1 | each | 900 | 63 | FOUNDATION & BASEMENT | Termite Protection — 1 each
Stained & sealed concrete floors | Subcontractor | 15.00 | LVP Materials | 3631 | sqft | 7 | 1779.19 | FLOORING & TILE | Stained and sealed concrete finished floors throughout (polished/sealed slab). — 3,631 ft2
Spray-coat exposed structure / ducts / foam - BLACK | Subcontractor | 14.00 | Paint | 3841 | sqft | 3.5 | 941.05 | PAINT & WALLCOVERING | Exposed ceiling structure, ductwork and insulation spray-coated black (industrial finish); includes code ignition-barrier coating. — 3,841 ft2 (incl. 10% waste)
Slab reinforcing - #4 rebar grid 24in OC | Material | 04.15 | Slab Grade & Gravel | 192 | sqft | 14 | 403.2 | FOUNDATION & BASEMENT | Slab reinforcing steel. — 192 each
HVAC zone damper - master suite | Subcontractor | 09.00 | HVAC | 1 | each | 1500 | 105 | HVAC | Zoned damper to separate master-suite cooling. — 1 each
Permanent power connection from transformer | Subcontractor | 08.00 | Electrical | 1 | each | 2500 | 175 | ELECTRICAL | Permanent power service connection. — 1 each